Yes—assuming the balance is unbiased and the measurement errors are random with the same variability each time, Cameron’s average will typically be closer to the true weight.

The reason is that averaging more repeated measurements reduces random error. If each weighing has variance \(\sigma^2\), then the variance of the sample mean is

\[

\mathrm{Var}(\bar X)=\frac{\sigma^2}{n}.

\]

So for Cameron, with \(n=20\),

\[

\mathrm{Var}(\bar X_C)=\frac{\sigma^2}{20},

\]

while for Jordan, with \(n=5\),

\[

\mathrm{Var}(\bar X_J)=\frac{\sigma^2}{5}.

\]

Thus Cameron’s mean has smaller variance and smaller standard error:

\[

\mathrm{SE}_C=\frac{\sigma}{\sqrt{20}} < \frac{\sigma}{\sqrt{5}}=\mathrm{SE}_J.

\]

So Cameron’s estimate is more precise and is more likely to be closer to the true weight.

However, this does **not** guarantee that Cameron’s average will be closer on a particular occasion—just that, in repeated use, her method performs better. Also, if the scale has a systematic bias, taking more measurements will not remove that bias; both students’ averages could still be off in the same direction.